PRODUCT BACKLOG

The Product Backlog is a living, continuously refined, and ordered list of all features, functions, and requirements needed to deliver the DataPack system. In strict adherence to Scrum methodology, this artifact focuses exclusively on the "What" (business value and user needs) rather than the "How" (technical implementation tasks).

Each Product Backlog Item (PBI) is expressed from the perspective of our key stakeholders using the User Story format. Furthermore, every item includes a preliminary effort estimation (provided exclusively by the Development Tea) and clear Acceptance Criteria that define the exact quality standards required for the feature to be considered "Done". This list will naturally evolve throughout the project lifecycle as more is learned about the building's environment and the users' needs.

| PRODUCT BACKLOG REPORT |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ID | AS A … | I WANT TO … | SO THAT … | Estimation | Acceptance Criteria |
| 1 | Building Manager | View a dashboard chart showing the expected hourly energy baseline for HVAC and plug loads across all four zones. | I can understand normal consumption patterns. | 5 | - Historical data is cleaned. - The chart displays the baseline curve over a 24h window. |
| 2 | Facilities Technician | Have the system flag out-of-hours energy waste on a spatial floor map. | I can immediately identify which specific zones (NE, NW, SE, SW) are Leaking energy at night or on weekends. | 8 | - The ML model is trained. - MAE/RMSE is deemed acceptable. -Weather data is integrated into the model. |
| 3 | UPM Project Sponsor | See a quantified EUR and CO2 savings report attached to each detected anomaly. | I can prioritize maintenance interventions based on concrete ROI and environmental impact. | 5 | - The interactive floor map is functional. - Alerts only trigger outside working hours |
| 4 | Energy Analyst | have the expected HVAC consumption dynamically forecasted using ML and outdoor weather data | I can manage my daily workflow and ignore false alarms caused by sensor resets. | 3 | - The Energy -> EUR conversion rate is applied. - The Energy -> CO2 conversion rate is applied. - Metrics are visible on the main interface. |
| 5 | Facilities Technician | Filter alerts by severity and mark them as; “handled”; or “data” | The baseline accurately adapts to seasonal changes and temperature variations rather than a static median. | 3 | - The user can interact with the alert. - Status changes update the database without deleting history. |
| 6 | UPM Project Sponsor | Access comprehensive documentation (ReadTheDocs) and a historical demo mode | I can audit the data mining methodology, reproduce the analysis locally, and understand the system without needing a live data connection. | 8 | - Documentation is deployed and accessible. - Demo mode runs locally with a static dataset. |