| PRODUCT BACKLOG REPORT CeDInt-SEF DataPack – Storey 1 energy-waste finder (TBDA Group 1) Product: a decision tool that turns CeDInt's historical and live sensor data into understandable, located and valued insights on avoidable electricity use: where and when energy is wasted, what it costs in € and CO₂, and what to fix first. This is a Product Backlog in the Scrum sense: an ordered list of stakeholder features, grouped by theme. Items are not assigned to people or planned into future sprints; the Development Team pulls them from the top in each Sprint Planning and breaks them into sprint-backlog tasks (section 6). Status on 25 Oct 2026 · 23 items · 11 High, 7 Medium, 5 Low · 111 story points estimated · 2-week sprints, current Sprint 2 = 12–25 Oct |  | STATUS. Not Started. In Progress. Complete. Overdue. On Hold. |  | PRIORITY. High. Medium. Low. |
| --- | --- | --- | --- | --- |

1. PRODUCT VISION AND SCOPE

Vision: help CeDInt find, value and act on avoidable electricity use, first on historical data and ready to run on the live IoT platform, so the institution can show it has the right tools and capabilities to do the best with its assets.

Why: in 2021–22 about 56 % of Storey 1's non-essential electricity was used while the building was closed (nights, weekends, holidays). A first estimate puts the avoidable part at 5–8 MWh, € 760–1,160 and 0.5–0.8 t CO₂ per year.

Scope of this release: Storey 1 (zones NE, NW, SE, SW), electrical loads by type, hourly data 2020–2023 and 2025, out-of-hours waste and abnormal use, € and CO₂ valuation; final presentation 30 Nov 2026, release on Moodle by 14 Dec 2026.

Out of scope: controlling the building, thermal energy, floors 2–3 (kept as an idea, F6.5).

2. STAKEHOLDERS AND NEEDS

| STAKEHOLDER | NEED | VALUE WE DELIVER (EVIDENCE) |
| --- | --- | --- |
| Building Manager (CeDInt) | Know where and when electricity is used while the building is empty, and what to fix first. | Out-of-hours overview, consumption explorer, floor map, waste alerts ranked by severity. Features F1, F3, F4, F5. |
| Sustainability Officer (UPM) | Credible € and CO₂ figures per zone, month and year for sustainability reporting. | € and CO₂ per alert, monthly and yearly savings report with export. Feature F5. |
| Maintenance Technician | Tell real equipment problems apart from faulty meters, and know where and when to act. | Separate data-error alerts, abnormal-use alerts during the day, alert handling. Features F2, F4. |
| UPM / CeDInt Sponsor (Product Owner) | Evidence that the product works, an auditable method, and a basis to decide on deployment. | Business case, justified model choice, deployment plan, demo mode, demo video; quality requirements Q1 and Q8. Features F3, F6. |

3. LOADS IN SCOPE: DECISION, JUSTIFICATION AND PRIORITY

The brief leaves open which loads to analyse. We decided from the Sprint 1 profiling of the 18 series (about 1.34 million rows) and the first waste estimate, prioritising by value for the Building Manager and by data quality.

| LOAD | DECISION | JUSTIFICATION (FROM THE DATA) | PRIORITY | WHAT THE PRODUCT OFFERS |
| --- | --- | --- | --- | --- |
| Plugs & Sockets (all 4 zones) | In scope – core | 72 % of the energy and about 70 % of the estimated waste (4.7 MWh/yr). NW plug load at night is 2.8× higher in winter than in summer: probably heaters left on in empty rooms. | High | Waste alerts, € and CO₂, expected consumption |
| Lighting (zones NW, SE, SW) | In scope – core | 15 % of the energy, 1.4 MWh/yr estimated waste. NW lighting follows a timer pattern every day, incl. weekends: possibly security lighting, to be confirmed (section 7). | High | Waste alerts, € and CO₂ |
| HVAC (zones NE, NW, SE) | In scope | 5.5 % of the energy, 0.4 MWh/yr estimated waste; the most weather-dependent load, so it drives the expected-consumption model. | Medium | Expected consumption, abnormal-use alerts |
| Hand dryers (NW, SW) | In scope – secondary | Small, event-driven load (0.04 MWh/yr waste). | Low | Shown, rarely alerts |
| Emergency lighting, RACK | Excluded from waste | Must run 24/7 (safety, servers). Monitored only for data errors: NW emergency lighting is negative 99 % of the time (probably a reversed meter); SW RACK stops in Dec 2021. | n/a | Data-error alerts only |
| SE Projector | Out of scope | Series is 100 % zeros: no information. | n/a | Reported as a data issue |

4. PRODUCT BACKLOG

Items are grouped by feature (theme) for readability. The order of work is the rank under each ID (1 = next to be pulled), set by the Product Owner by business value. SPRINT is filled in only for items the Development Team has already selected in a Sprint Planning; "–" means not selected yet. ESTIMATE is the Development Team's own estimate in story points (sum of its task estimates); new items are estimated during refinement.

| ID | AS A … | I WANT TO … | SO THAT … | PRIORITY | ESTIMATE (SP) | SPRINT | STATUS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| F1. SEE WHERE AND WHEN ENERGY IS USED |  |  |  |  |  |  |  |
| F1.1 rank 1 | Building manager | see how much electricity each zone and load type uses while the building is closed (nights, weekends, holidays) | I know where the largest saving opportunities are | High | 10 | 2 | In Progress |
| F1.2 rank 3 | Building manager | browse hourly, daily and monthly consumption per zone and load type with shared zone and date filters | I can check any pattern myself | High | 11 | 2 | In Progress |
| F1.3 rank 16 | Building manager | see a floor map of Storey 1 with the four zones coloured by waste in the chosen period | I see at once where to go | Medium | 3 | – | Not Started |
| F1.4 rank 19 | Building manager | see a day × hour heatmap per zone and for the whole floor | I spot recurring patterns such as lights left on every Friday night | Low | 2 | – | Not Started |
| F2. TRUST THE DATA |  |  |  |  |  |  |  |
| F2.1 rank 2 | Building manager | see how complete and reliable the data are for every zone, load type and month | I never act on a number caused by missing data or a meter reset | High | 7 | 2 | In Progress |
| F2.2 rank 10 | Maintenance technician | see data errors (dead meters, flat lines, counter resets) as a separate kind of alert | I can repair faulty meters and they are not reported as waste | High | 2 | – | Not Started |
| F3. KNOW WHAT CONSUMPTION IS NORMAL |  |  |  |  |  |  |  |
| F3.1 rank 4 | Building manager | see the expected consumption of each zone and load type for every hour, next to the actual consumption | I recognise unusual use at a glance | High | 6 | 2 | In Progress |
| F3.2 rank 9 | Building manager | have the expected consumption take outdoor weather, holidays and the academic calendar into account | cold days or exam periods do not cause false alarms | High | 12 | 2 | In Progress |
| F3.3 rank 13 | UPM / CeDInt sponsor | see the chosen forecasting model compared with alternatives and documented in a model card | I can trust that the best available model is used | Medium | 5 | – | Not Started |
| F4. DETECT WASTE AND ANOMALIES |  |  |  |  |  |  |  |
| F4.1 rank 5 | Building manager | get an alert whenever a zone uses more than its standby level while the building is closed | I can have left-on equipment switched off | High | 12 | 2 | In Progress |
| F4.2 rank 11 | Building manager | open a list of all alerts and the detail of each one | I understand what happened before I act | High | 7 | – | Not Started |
| F4.3 rank 12 | Maintenance technician | get an alert when consumption during opening hours is far above what is expected | I also find faulty or misused equipment during the day | Medium | 8 | – | Not Started |
| F4.4 rank 15 | Maintenance technician | mark an alert as handled, false alarm or data error | the team sees what was done and false alarms improve the thresholds | Medium | 4 | – | Not Started |
| F4.5 rank 21 | Building manager | receive a weekly e-mail with the most severe alerts | I do not have to open the dashboard every day | Low | – | – | Not Started |
| F5. VALUE AND PRIORITISE |  |  |  |  |  |  |  |
| F5.1 rank 6 | Sustainability officer | see the cost in € and the kg CO₂ of every alert, with totals per day, month and zone | I can rank problems by impact and report them | High | 4 | 2 | In Progress |
| F5.2 rank 7 | Building manager | see alerts ranked as Low, Medium or High | I know what to handle first | High | 2 | 2 | In Progress |
| F5.3 rank 14 | Sustainability officer | get a monthly and yearly savings report per zone and load type, with the top waste sources, that I can export | I can include it in sustainability reporting | Medium | 5 | – | Not Started |
| F6. DECIDE, DEPLOY AND SHARE |  |  |  |  |  |  |  |
| F6.1 rank 8 | UPM / CeDInt sponsor | receive a business case with problem, solution, savings potential, costs and benefits | I can decide whether to deploy the product | High | 6 | 2 | In Progress |
| F6.2 rank 17 | UPM / CeDInt sponsor | get a plan for running the product on CeDInt's live IoT data | I know what deployment would take | Medium | 2 | 2 | In Progress |
| F6.3 rank 18 | UPM / CeDInt sponsor | run the product in a demo mode that replays historical data as if it were live | it can be shown without a live data connection | Medium | 2 | – | Not Started |
| F6.4 rank 20 | UPM / CeDInt sponsor | have a short demo video of the product | the message "our organisation has the right tools to do the best with your asset" reaches prospective clients | Low | 1 | – | Not Started |
| F6.5 rank 22 | Building manager | get the same analysis for floors 2 and 3 | the whole building is covered | Low | – | – | On Hold |
| F6.6 rank 23 | Building manager | have alerts produced automatically from the live IoT platform | problems are found the same day | Low | – | – | On Hold |

5. QUALITY REQUIREMENTS (NON-FUNCTIONAL)

Following the course notes (3.4.1.3), cross-cutting quality requirements are not stories themselves. Each has its own acceptance criteria and is linked to the stories it applies to.

| ID | QUALITY REQUIREMENT | ACCEPTANCE CRITERIA |
| --- | --- | --- |
| Q1 | Reproducible and auditable | Every figure can be regenerated from the raw Excel files with one documented command; every experiment logged (data, parameters, metrics); method documented with CRISP-DM on the docs site; data dictionary available. |
| Q2 | Transparent numbers | Every number shown states its assumptions (period, opening hours, price, CO₂ factor) and any data-quality flags. |
| Q3 | Usable without data-science knowledge | Wireframe and mockup agreed before building; 3 testers outside the team complete the core tasks in under 5 minutes; findings fixed or added to the backlog. |
| Q4 | Responsive | Each dashboard page loads in under 3 s for the full 2020–2025 dataset on a standard laptop. |
| Q5 | Configurable | Opening hours, price, CO₂ factor and alert thresholds live in one configuration file; changing them updates all figures without code changes. |
| Q6 | User documentation | The user guide explains the feature, the waste definition and the alert types, and is reachable from the product. |
| Q7 | Privacy and safe access | Read-only access to building data; presence data only as zone totals; no personal data stored. |
| Q8 | Forecast accuracy | Forecasts evaluated on data not used for training with MAE, CV(RMSE) and NMBE; ASHRAE Guideline 14 hourly criteria (CV(RMSE) ≤ 30 %, NMBE ±10 %) checked and any gap stated. |

6. HOW EACH STORY IS BUILT AND TESTED

The last column links each story to the tasks the Development Team already created in Jira. Those tasks form the sprint backlog (the "how"); the team picks them up during the sprint, so they are not Product Backlog items. All 77 Jira tasks are linked exactly once: to a story below, to a quality requirement, or to Scrum/project work.

| ID | STORY | ACCEPTANCE CRITERIA (HOW THE PRODUCT OWNER TESTS IT) | DEPENDS ON | SPRINT BACKLOG TASKS (JIRA) |
| --- | --- | --- | --- | --- |
| F1. SEE WHERE AND WHEN ENERGY IS USED |  |  |  |  |
| F1.1 | Out-of-hours overview | - kWh and % of total used while closed, per zone × load type, for any period - Opening hours editable (default Mon–Fri 08–20 h, Madrid holidays, 24 Dec–6 Jan closed); timestamps in Madrid time - Emergency lighting and RACK shown separately (essential loads) | F1.2 | KAN-15, KAN-122, KAN-125, KAN-127, KAN-128 |
| F1.2 | Consumption explorer | - Filters for zone (NE, NW, SE, SW), load type and period apply to all charts - Hourly, daily and monthly views; data 2020–2023 and 2025 - Runs from the raw files with one command | – | KAN-11, KAN-123, KAN-118, KAN-119, KAN-140, KAN-25 |
| F1.3 | Floor map | - Zones NE, NW, SE, SW coloured by excess kWh or € - Clicking a zone opens its alerts | F4.1 | KAN-157 |
| F1.4 | Day × hour heatmap | - Nights, weekends and holidays visibly marked | F1.2 | KAN-139 |
| F2. TRUST THE DATA |  |  |  |  |
| F2.1 | Data reliability | - Coverage % per series and month - Gaps, counter resets and impossible values marked on every chart where they occur - Series without usable data (SE projector, SW RACK after Dec 2021) shown as unavailable | – | KAN-12, KAN-13, KAN-154 |
| F2.2 | Data errors kept apart | - Separate "data error" category with its own list - Data-error periods excluded from € and CO₂ totals | F2.1, F4.1 | KAN-148 |
| F3. KNOW WHAT CONSUMPTION IS NORMAL |  |  |  |  |
| F3.1 | Expected consumption | - Expected and actual curves on one chart for any day - First version: same hour last week and weekday × hour median - Accuracy (MAE, CV(RMSE)) reported on data not used to build it | F1.2 | KAN-18, KAN-126, KAN-26 |
| F3.2 | Weather- and calendar-aware expectation | - Uses Madrid hourly weather and the holiday/academic calendar - Beats the F3.1 baseline on CV(RMSE) on held-out data - Evaluated on a time-based split (no shuffling) | F3.1 | KAN-14, KAN-124, KAN-133, KAN-17, KAN-19, KAN-20 |
| F3.3 | Justified model choice | - Baseline, LightGBM and Prophet compared on the same test period - Model card: data, features, accuracy, limits | F3.2 | KAN-146, KAN-162 |
| F4. DETECT WASTE AND ANOMALIES |  |  |  |  |
| F4.1 | Out-of-hours waste alerts | - Waste = use above the circuit's standby baseline while closed (definition approved by the sponsor) - Each alert shows zone, load type, start, end and excess kWh - Largest alerts checked against a catalogue of known events - No waste alert in periods flagged as bad data | F1.1, F2.1 | KAN-10, KAN-16, KAN-22, KAN-137, KAN-24 |
| F4.2 | Alert list and detail | - One alert table for all detectors, published to the dashboard - List filterable by zone, load type, type, severity and period - Detail shows actual vs expected, outdoor temperature and presence for the alert period | F4.1, F5.2 | KAN-135, KAN-149, KAN-141, KAN-166 |
| F4.3 | Abnormal use alerts | - Alert when actual use exceeds the upper bound of a 95 % prediction interval for ≥ 2 consecutive hours - Interval coverage checked on test data - Final review of all alerts before release | F3.2 | KAN-144, KAN-145, KAN-163 |
| F4.4 | Handle alerts | - Status change saved with date; history kept - Alert threshold tuned with the false-alarm feedback | F4.2 | KAN-161, KAN-150 |
| F4.5 | Weekly alert digest | - Top alerts of the week with € and a link to the detail | F4.2 | Not broken down yet (new item) |
| F5. VALUE AND PRIORITISE |  |  |  |  |
| F5.1 | € and CO₂ per alert | - € = excess kWh × electricity price (hourly if available, else documented flat price) - kg CO₂ = excess kWh × Spanish grid emission factor - Price and factor sources shown | F4.1 | KAN-134, KAN-23 |
| F5.2 | Severity levels | - Severity based on € (or kWh) and duration, not only a statistical score - Thresholds documented and adjustable - Alert lists sorted by severity | F5.1 | KAN-152 |
| F5.3 | Savings report | - €, kWh and kg CO₂ per month and year; top 5 waste sources - Overview page shows the totals - Export to PDF and CSV | F5.1 | KAN-155, KAN-156, KAN-168 |
| F6. DECIDE, DEPLOY AND SHARE |  |  |  |  |
| F6.1 | Business case | - Yearly € and CO₂ potential based on this building's data (first estimate, then measured) - Linked to SDG 7, 11, 12, 13 and to the EELISA alliance - Results compared with the agreed success KPIs | F1.1, F5.1 | KAN-131, KAN-132, KAN-136, KAN-153 |
| F6.2 | Deployment plan | - Covers data connection, hosting, retraining and monitoring - Costs and responsibilities stated | – | KAN-159 |
| F6.3 | Demo mode | - Runs locally from a static dataset - Alerts appear as the replayed time moves on | F4.2 | KAN-167 |
| F6.4 | Demo video | - Shows one real alert from detection to € and CO₂ - Understandable without technical background | F5.3 | KAN-165 |
| F6.5 | Floors 2 and 3 | - On hold until data exports for floors 2–3 are available | – | Not broken down yet (new item) |
| F6.6 | Live data | - On hold: depends on the deployment decision (F6.2) | F6.2 | Not broken down yet (new item) |

Tasks that build the quality requirements, and Scrum / project work

| ID | ITEM | JIRA TASKS |
| --- | --- | --- |
| Q1 | Reproducible and auditable | KAN-9, KAN-129, KAN-143, KAN-160, KAN-27, KAN-142, KAN-147, KAN-169 |
| Q3 | Usable without data-science knowledge | KAN-121, KAN-21, KAN-151, KAN-158 |
| Q6 | User documentation | KAN-164 |
| – | Scrum and project work (not a product feature) | KAN-8 Jira project, backlog and sprints · KAN-28 Scrum events and weekly sponsor update · KAN-116 Working agreements (DoR, DoD, communication) · KAN-117 Methodology choice and roles · KAN-120 Stakeholders and personas (input to this backlog) · KAN-130 Risk register · KAN-138 Mid-project peer feedback · KAN-29 Final presentation and demo script (Sprint Review with the sponsor) · KAN-30 Final upload to Moodle (release) |